ZTM ANSWERS TO RECEIVED QUESTIONS/COMMENTS

Sofware solution for blood supply and transfusion medicine services

IMPORTANT NOTICE:

The contracting authority has provided responses to the submitted questions in the documents "Documentation_QnA_4nov2025.docx" (this document) and "Specifications_QnA_4nov2025" published on the ePonudbe webpage. Please be advised that the contracting authority has made changes to certain parts of the final tender documentation due to the responses provided to the tender questions. These amendments are outlined in the two documents stated above.

For this reason, and in the interests of transparency, the contracting authority has decided to publish a new version of the entire tender documentation. Please be advised that the documents included in the new tender documentation will have "v2" added to the end of their file names. When submitting their final documentation, tenderers are required to use only the new tender documentation mentioned above (marked with “v2” at the end of the file name). The final tender submitted by a tenderer on the basis of the previous tender documentation will be rejected as inadmissible.

- INVITATION FOR FINAL TENDER SUBMISSION

Evaluation of tenders - Most economically advantageous tender

Tenderer’s comment:

The proposal means the only decisive factor will be the price on the account of the quality. In qualified dialogue procedures, the focus is usually on the quality rather than price, otherwise there is no point in having qualified dialogue. We propose the ratio between price and quality to be 40:60.

ZTM answer: The CA will not change its requirements. The contracting authority will not make any changes to the tender documentation provisions set out in this part, as these were finalised in the initial phase of the procedure. This would constitute a violation of the law of public procurement.

Selection criteria LOT 2

Tenderer’s comment:

M1 and M2 from Lot 2 to be replaced with M3 and M4. The final ENP to be ENP = M1

+ M2 +M3 + M4. The reason is that we believe that it will be a significant complication connecting the systems from potentially two different vendors in Lot 1 and Lot 2.

ZTM answer: The CA will not change its requirements. The contracting authority will not be able to make any changes to the tender documentation provisions set out in this part, as these were finalised in the initial phase of the procedure. This would constitute a violation of the law of public procurement.

- PROFORMA INVOICE

Price, included cost and VAT (Page 1, 4th and 5th Paragraph below table)

Tenderer’s comment:

This appears to be a conflict, as (a) sentence 1 says include all taxes, (b) sentence 2 says show VAT separately, and (c) the invoice form below then does not include a line for VAT at all. Can the Contracting Authority please clarify how it expects taxes (VAT and otherwise) to be treated in this template?

ZTM answer: VAT is not displayed in the proforma invoice because the selection criteria is the price excluding VAT. To avoid confusion the CA will delete sentence 2: “The VAT must be shown separately, in accordance with the invoice form”.

Third party licenses

Tenderer’s comment:

TENDERER’S-SYSTEM’s practice is that the contracting authority is providing the Oracle licenses. We only provide specifications for the needs of licensing.

ZTM answer: All licenses your program needs to operate must be included. Server and data base licenses are not subject of this tender.

Unclear statement on page 3:

Tenderer’s comment:

The price of item 2 must include the cost of the license to start using the license. This is unclear.

ZTM answer: Sentence in Proforma invoice and Contract is corrected to: “The price of item 2 must include the cost of all licenses for the use in the production.”

ATTENTION: the sum of items 1 and 2 must not exceed 60% of the total tender value (if exceeded, the tender will be rejected as inadmissible).

Tenderer’s comment:

We propose to remove the 60% restriction. It adds an unnecessary complexity and interferes with internal company pricing policy. With the total price being decisive criteria, we don’t see a point of this.

ZTM answer: The CA will not change the payments plan. In accordance with Slovenian legislation the CA must avoid advance payments.

- PROJECT MANAGEMENT AGREEMENT

Notwithstanding the foregoing, the amount of human resources provided by Contracting Authority for the purpose of the contract shall not exceed more than eighty (80) hours per month.

Tenderer’s comment:

Tenderer’s proposal is 240 hours per month, in order to be able to meet the implementation timeline requirements by the contracting authority.

ZTM: The CA will not change its requirements.

- CONTRACT

QUANTITIES, PRICES AND PERFORMANCE CONDITIONS

Tenderer’s comment:

Identical as above for the Pro-Forma Invoice. Oracle licenses should be excluded.

ZTM answer: All licenses your program needs to operate must be included. Server and data base licenses are not subject of this tender.

ATTENTION: the sum of items 1 and 2 must not exceed 60% of the total tender value (if exceeded, the tender will be rejected as inadmissible).

Tenderer’s comment:

Identical as above for the Pro-Forma Invoice. 60% restriction should be removed.

ZTM answer: The CA will not change the payments plan. In accordance with Slovenian legislation the CA must avoid advance payments.

Payment method and payment deadline

Tenderer’s comment:

We must object comment again the payment dynamic. Having into consideration the long period (31 months) to handover and that most of Tenderer's cost occurs in the build and implementation phase, we ask you to propose an alternative to our proposal, which is not in breach with the Slovenian public procurement legislation:

15% - contract signature

15% - after the completion of Phase 1 (Discovery)

30% - after the completion of Phase 2 (Implementation)

10% - after the completion of Phase 3 (migration & integration)

10% - after the completion of Phase 4 (validation)

10% - after the completion of Phase 5 (user training)

10% - after handover

ZTM answer: The CA will not change the payments plan. In accordance with Slovenian legislation the CA must avoid advance payments. This proposal would be a violation of the Public Finance Act

Providing, free of charge, upgrades to existing licenses to use the new functionalities so that the Contracting Authority can fully use the new versions of the system at no additional cost.

Tenderer’s comment:

Free upgrades can't be included. Tenderer is issuing a new version of its products every year. There are two problems with this request:

1. It interferes with the company's global pricing policy.

2. Provided we upgrade every year, the contracting authority will have to provide internal resources for testing and validation every year. This means the contracting authority would be in constant implementation mode.

ZTM answer: The CA will not change its requirements.

CONTRACTING AUTHORITY SUPPORT, REPORTING AND TROUBLESHOOTING

Tenderer’s comment:

Tenderer’s system has standard maintenance SLA, which works with clients all over the World. We are proposing the following SLA:

| Severity level | Description | Response Time SLA | Action |
| --- | --- | --- | --- |
| Critical | Impacts the continuity of operations or has a safety impact on a patient or | 2 Hours | Critical issues are addressed on a continuous basis 24/7/365 until a workaround or a solution is found. |

|  | donor and there is no workaround available. Leads to a patient or donor serious injury, including safety critical issue or Medical Device Report. Note: Customer must indicate the rationale for qualifying the requests as critical |  | Critical issues are escalated within Tenderer’s management. If a workaround is found, the severity level is updated to Urgent. Regular communication between Tenderer and Customer is established to share the resolution progress. |
| --- | --- | --- | --- |
| Urgent | Business operations are partially altered but there is no immediate safety impact, and the issue is affecting a process controlled by the software. Note: The user may indicate the date by when this issue may become critical | 1 Business Day | Appropriate Tenderer resources are assigned to the case and will work during Business Hours to identify the source of the problem and, if necessary, will provide a workaround or a solution to restore normal operations as soon as possible. |
| Normal | No impact on operations or safety. | 7 Business Days | Tenderer will use reasonable efforts within Business Hours to provide an acceptable workaround or to incorporate a solution in the earliest possible scheduled Maintenance Release or Software Update. |
| Low | Minor inconvenience, minor issues in display, reports design or similar. | 15 Business Days | Tenderer will use reasonable efforts within Business Hours to incorporate a solution in the earliest possible Maintenance Release or Software Update. |

ZTM answer: The CA will not change its requirements.

- ePRO Specifications LOT 1 (special attention)

GENERAL – A_63

Tenderer’s comment:

We propose to replace CE-MDR requirement with CE-IVDR, with the following explanation.

BECS (Blood Establishment Computer System) falls within the scope of the IVDR Regulation (EU) 2017/746, and not the MDR Regulation (EU) 2017/745, based on its intended purpose, core functionalities, and legal definitions established under EU law. It is important to note that the scope of MDR refers to:

- Physical devices (instruments, implants, prostheses)

- Software with a direct medical purpose (e.g., software that diagnoses disease based on clinical data)

- Devices that act directly on the patient or their health

BECS does not act directly on the patient nor diagnose disease from clinical data in vivo, but instead processes and manages laboratory results from human specimens, making it an in vitro diagnostic device.

- Alignment with the Definition of an IVD
Article 1(2)(c) of Directive 98/79/EC (now superseded by IVDR but still relevant for definitional continuity) defines an in vitro diagnostic device as:

“Any medical device intended by the manufacturer to be used in vitro for the examination of specimens derived from the human body, solely or principally to provide information:

• concerning a physiological or pathological state;

• concerning a congenital abnormality;

• to determine the safety and compatibility with potential recipients;

The BECS software fulfils this definition through its primary intended use: managing and interpreting laboratory test results derived from human specimens to support clinical decision-making regarding the safety and compatibility of blood components for transfusion.

- Core Functionalities Reflect IVD Purpose

The BECS includes the following functionalities:

- Full management of immunohematology, viral serology, and crossmatching data.

- Creation and customization of donor testing algorithms and corresponding consequences.

- Automated validation before inventory release, where labeling triggers stock entry.

- Electronic crossmatch configuration and distribution control based on recipient compatibility history.

These functions are integral to the clinical validation of blood components before transfusion. The software’s output determines whether a component is safe to be released for patient use, aligning directly with the intended purpose of an IVD under EU law, rather than falling under MDR.

ZTM answer: Answers and clarifications to questions regarding the specifications for Lot 1 and Lot 2 are provided in a separate document.

Based on the comments provided on the specifications, we are submitting the following changes:

Revised specifications: A_63, S_61, GG_02.

Change to optional: II_62 (due to this change, the evaluation method for lot 2 in the tender invitation (ePRO_Invitation for final tender submission) is also changed, so that the equation is modified as follows: M2= 20 * Additional functionalities offered/ Total number of additional functionalities (70)).

Removed: II_41, II_42.

- EPRO SPECIFICATIONS LOT 1 & LOT 2

Tenderer’s comment:

Please provide us with information/specifications regarding the Internal Systems and 	the External National Systems from the Integration sheets for both Lot 1 and Lot 2. 	This is essential information in the next process of the price estimation, otherwise we 	will not be able to project the LOEs for the connection to these systems.

ZTM answer:

| used in | Internal systems | type of software | developer | exchange format |  |
| --- | --- | --- | --- | --- | --- |
| Int_58 | ZTM | Accounting and financial system | ProPis | Nova vizija d.o.o. | CSV (export only) |
| Int_59 | CE | Accounting and financial system | Hospital Celje | Birpis | CSV (export only) |
| Int_60 | MB | Accounting and financial system | Hospital Maribor | Pinna | CSV (export only) |
| Int_61 | ZTM, MB, CE | blood/service ordering interface from hospital wards | eNKiS | inhouse | JSON (import/export) |
| Int_62 | ZTM, MB, CE | blood donor registration with the health insurance company (ZZZS) to obtain a day off work | ePODK | inhouse | JSON (import/export) |
| Int_63 | ZTM, MB | module for remote interpretation of IH tests | Telemedicina | xlab | CSV (import/export) |

Connection to External national systems are not needed for successfull implementation. Will be requested for implementation in future in case it becomes obligatory by the law.