## SPLOSNO
CODE | Specification - Requirements for patients | English translation | Mandatory/Optional | Question | ANSWERS
A_11 | Visoko razpoložljiv sistem z neprekinjeno dostopnostjo sistema v režimu 24/7 | Highly available system with continuous system availability in 24/7 mode | Mandatory | The solution supports HA architecture with high level of redundancy at all tiers. However Tenderer is not providing the platform and can only commit to the availability of its platform. | Thank you for your comment. The part of the system that is in your domain must conform to the specification
A_12 | Zajamčena zanesljivost obratovanja naj bo vsaj 99,99 % | Guaranteed operational reliability should be at least 99.99% | Mandatory | Achieving 99.99% availability requires a combination of robust infrastructure, fault-tolerant architecture, redundancy, monitoring, and rapid response to failures. The platform capacity plays a highest role in meeting availability requirements. Tenderer is just a software vendor not a hosting vendor in this project and therefore can only commit to the availability of its platform. | Thank you for your comment. The part of the system that is in your domain must conform to the specification
A_13 | Aplikacĳa mora omogočati delo 100 hkratnih uporabnikov pri čemer vsak uporabnik izvede najmanj eno operacĳo na minuto | The application must support 100 simultaneous users, with each user performing at least one operation per minute | Mandatory | The solution supports this performance requirement. However Tenderer is not providing the platform and can't commit to this requirement. | Thank you for your comment. The part of the system that is in your domain must conform to the specification
A_14 | Zagotovljena redundanca sistema na vseh nivojih | Guaranteed system redundancy at all tiers | Mandatory | The solution supports HA architecture with high level of redundancy at all tiers. However Tenderer is not providing the platform and can't commit this requirement. | Thank you for your comment. The part of the system that is in your domain must conform to the specification
A_15 | Vsaka lokacĳa v transfuzĳskem omrežju naj ima dvojno povezavo s centralno in redundantno lokacĳo | Each location in the transfusion network should have a doubled connection with a central and redundant location | Mandatory | The solution supports HA architecture with high level of redundancy at all tiers. However Tenderer is not providing the platform and can't commit this requirement. | Thank you for your comment. The part of the system that is in your domain must conform to the specification
A_16 | Sistem je na aplikativnem in podatkovnem nivoju varovan s požarno pregrado | The system is protected by a firewall at the application and data tier | Mandatory | Tenderer is not a hosting provider therefor this requirement is not applicable. | Thank you for your comment. The part of the system that is in your domain must conform to the specification
A_17 | Omogoča šifriran prenos in hranjenje podatkov | Enables encrypted data transfer and storage | Mandatory | The solution supports data encryption at transit and rest, however could data encryption be configured on the system depend on the hosting provider. | Thank you for your comment. The part of the system that is in your domain must conform to the specification
A_18 | Omogoča delo v realnem času (online) na terenu preko mobilnega omrežja | Enabled work in real time (online) in the field via the mobile network | Mandatory | Tenderer is not a hosting provider therefor this requirement is not applicable. | Thank you for your comment. The part of the system that is in your domain must conform to the specification
A_22 | Omogoča dislociranim uporabnikom uporabo aplikacĳe prek medmrežja | Enabled remote use of the application via the Internet | Mandatory | The solution could be accessed via internet but this is up to the hosting vendor to implement this access. The requirement is not applicable to Tenderer. | Thank you for your comment. The part of the system that is in your domain must conform to the specification
A_23 | Zagotavlja razpoložljivost, sledljivost, nespremenljivost, varnost, integriteto in nerazkrivanje podatkov | It ensures availability, traceability, immutability, security, integrity and non-disclosure of data | Mandatory | The solution is compatible with this requirement, however it is responsability on the hosting vendor side to configure the system accordingly. | Thank you for your comment. The part of the system that is in your domain must conform to the specification
A_55 | Sistem omogoča enostavno in centralizirano upravljanje avtentikacije uporabnikov, upravljanje uporabnikov ter avtorizacĳo uporabnikov z možnostjo uporabe sistema enkratne prijave (single sign-on) | The system enables easy and centralized management of user authentication, user management and user authorization with the possibility of using the single sign-on system | Optional | Customer's Identity Provider will be used for user management and SSO can be enabled on the IdP side. This is customer's responsibility. The solution will integrate with the IdP using OIDC authentication protocol. | Thank you for your comment. The part of the system that is in your domain must conform to the specification
A_63 | Rešitev mora biti priglašena kot medicinski pripomoček (oznaka CE) in biti skladna z Uredbo (EU) 2017/745 Evropskega parlamenta in Sveta z dne 5. aprila 2017 o medicinskih pripomočkih, spremembi Direktive 2001/83/ES, Uredbe (ES) št. 178/2002 in Uredbe (ES) št. 1223/2009 ter razveljavitvi direktiv Sveta 90/385/EGS in 93/42/EGS (Uredba MDR) (OJ L 117, 5.5.2017, str. 1–175), ali z Direktivo Sveta 93/42/EGS z dne 14. junija 1993 o medicinskih pripomočkih (OJ L 169, 12.7.1993, str. 1–43), če ponudnik predloži pisno zagotovilo, da bo do konca prehodnega obdobja veljavnosti izvedel certificiranje v skladu Uredbo MDR | The solution must be notified as a medical device (CE marking) and comply with Regulation (EU) 2017/745 of the European Parliament and of the Council of 5 April 2017 on medical devices, amending Directive 2001/83/EC, Regulation (EC) No 178/2002 and Regulation (EC) No. 1223/2009 and repealing Council Directives 90/385/EEC and 93/42/EEC (MDR Regulation) (OJ L 117, 5.5.2017, p. 1–175), or with Council Directive 93/42/EEC of 14 June 1993 on medical devices (OJ L 169, 12.7.1993, p. 1–43), if the bidder provides a written assurance (letter of guarantee) that it will carry out certification in accordance with the MDR Regulation by the end of the transitional period of validity | Mandatory | "We propose to replace CE-MDR with CE-IVDR.The BECS (Blood Establishment Computer System) falls within the scope of the IVDR Regulation (EU) 2017/746, and not the MDR Regulation (EU) 2017/745, based on its intended purpose, core functionalities, and legal definitions established under EU law. It is important to note that the scope of MDR refers to: Physical devices (instruments, implants, prostheses) Software with a direct medical purpose (e.g., software that diagnoses disease based on clinical data) Devices that act directly on the patient or their health BECS does not act directly on the patient nor diagnose disease from clinical data in vivo, but instead processes and manages laboratory results from human specimens, Tenderering it an in vitro diagnostic device. 1. Alignment with the Definition of an IVD Article 1(2)(c) of Directive 98/79/EC (now superseded by IVDR but still relevant for definitional continuity) defines an in vitro diagnostic device as: “Any medical device intended by the manufacturer to be used in vitro for the examination of specimens derived from the human body, solely or principally to provide information: • concerning a physiological or pathological state, • concerning a congenital abnormality, • to determine the safety and compatibility with potential recipients.” The BECS software fulfils this definition through its primary intended use: managing and interpreting laboratory test results derived from human specimens to support clinical decision-Tenderering regarding the safety and compatibility of blood components for transfusion. 2. Core Functionalities Reflect IVD Purpose The BECS includes the following functionalities: Full management of immunohematology, viral serology, and crossmatching data. Creation and customization of donor testing algorithms and corresponding consequences. Automated validation before inventory release, where labeling triggers stock entry. Electronic crossmatch configuration and distribution control based on recipient compatibility history. These functions are integral to the clinical validation of blood components before transfusion. The software’s output determines whether a component is safe to be released for patient use, aligning directly with the intended purpose of an IVD under EU law, rather than falling under MDR." | Specification will be changed to: The solution must be notified as a medical device (CE marking) and comply with Regulation (EU) 2017/745 of the European Parliament and of the Council of 5 April 2017 on medical devices, amending Directive 2001/83/EC, Regulation (EC) No 178/2002 and Regulation (EC) No. 1223/2009 and repealing Council Directives 90/385/EEC and 93/42/EEC (MDR Regulation) (OJ L 117, 5.5.2017, p. 1–175), or with Council Directive 93/42/EEC of 14 June 1993 on medical devices (OJ L 169, 12.7.1993, p. 1–43), if the bidder provides a written assurance (letter of guarantee) that it will carry out certification in accordance with the MDR Regulation by the end of the transitional period of validity or with Regulation (EU) 2017/746 of the European Parliament and of the Council of 5 April 2017 on in vitro diagnostic medical devices and repealing Directive 98/79/EC and Commission Decision 2010/227/EU (IVDR Regulation) (OJ L 117, 5.5.2017, p. 176–332), or with Directive 98/79/EC of the European Parliament and of the Council of 27 October 1998 on in vitro diagnostic medical devices (OJ L 331, 7.12.1998, p. 1–37), if the bidder provides a written assurance (letter of guarantee) that it will carry out certification in accordance with the IVDR Regulation by the end of the transitional period of validity.
A_65 | Rešitev mora biti skladna s standardi in zakonodajo o informacĳskih sistemih: Standard za zagotavljanje informacĳske varnosti (ISO 17799/ISO 27002), Zakon o elektronskem poslovanju in elektronskem podpisu (ZEPEP, Ur.L. | The solution must comply with standards and legislation on information systems: Standards for ensuring information security (ISO 17799/ISO 27002); Electronic Business and Electronic Signature Act (Official Gazette of the Republic of Slovenia [Uradni list RS], No. 98/04, 61/06 – ZEPT, 46/14, 121/21 – ZEISZ and 130/22 – ZN-H); Personal Data Protection Act (Official Gazette of the Republic of Slovenia [Uradni list RS], No. 163/22); Protection of Documents and Archives and Archival Institutions Act (Official Gazette of the Republic of Slovenia [Uradni list RS], No. 30/06 in 51/14) | Mandatory | The current software supports standard electronic signature functionalities, primarily based on user authentication through login credentials and access control mechanisms. These standard signatures are suitable for internal traceability and system authorization purposes.However, the software does not currently support advanced electronic signatures such as the use of qualified or advanced digital certificates issued by a trusted certification authority. | Thank you for your comment.
A_67 | Ponudnik izvede migracijo podatkov v sodelovanju in s podporo naročnika v predhodno dogovorjenem obsegu | The provider carries out the data migration in cooperation and with the customer's support according to previously agreed extent | Mandatory | Tenderer will be responsible for the data import into the new system while the customer is responsible for the data export from the legacy system in the standard data format provided by Tenderer. | Thank you for your comment. The part of the system that is in your domain must conform to the specification

## FZ1
CODE | Specification - Requirements for patients | English translation | Mandatory/Optional | Question
J_1 | Vnos odprave celotne pošiljke v sistem za spremljanje transporta med lokacijo odvzema (stacionarne in mobilne) in lokacijo predelave | Entering the shipment into the transport monitoring system between the collection site (fixed and mobile) and the processing location | Mandatory | During sending of items from our solution, the system can generate a shipment number. This shipment number can be entered manually by the user in the moniotoring system. | Ok.
J_4 | *Za vsak ID torbe vnos in povezava med ID data logerja in ID krvi oz. komponentami krvi v torbi | *For each transport box ID, entry and connection between data logger ID and blood components ID | Mandatory | Manual entry. No connection. | Ok.
J_5 | *Za vsak ID torbe vnos ure in datuma vstavljanja data logerja | *For each transport box ID, entry of time and date of adding the data logger | Optional | Manual entry. No connection. | Ok.

## FZ2
CODE | Specification - Requirements for patients | English translation | Mandatory/Optional | Question
S_58 | *Izdaja izvida skupaj s strukturiranim ali nestrukturiranim mnenjem, opombo in oznako | *Standardized laboratory report generation along with structured or unstructured clarification, note and label | Mandatory | Explanation. Our solution can generate reports based on standard templates, but it does not allow to edit the content prior its generation. | OK
S_59 | *Možnost pred pripravljenih komentarjev izvida na osnovi vpisanih rezultatov | *Repository of pre-prepared laboratory report comments to be used with different sets of entered results | Mandatory | Our solution prints reports based on the previous defined templates in Jasper Reports. Comments can be defined as a result of lab algorthim(Eg; Generate a dummy test that generates a comment). | OK
S_60 | *Možnost izpisa potrjevalca izvida | *Possibility to print out the report validator | Mandatory | Explanation. To be clarified | Printed name and surname of the superuser who validates the results should be visible on the report.
S_61 | *Možnost več stopenjskega validiranja rezultatov in izvidov | *Multi-level validation of laboratory results or laboratory reports | Mandatory | Explanation. In our solution stage release process allwos the superusers to valdiate results. | The specification will be corrected to: Multi-level validation of laboratory results
S_70 | *Sistem omogoča konfiguracijo opozoril | *Configurable warnings | Mandatory | Assuming that refers to configurable blockage of actions it can be confiugred, but not the text inside the warning | OK
V_67 | *Izdaja izvida skupaj s strukturiranim ali nestrukturiranim mnenjem, opombo in oznako | *Standardized laboratory report generation along with structured or unstructured clarification, note and label | Mandatory | Our solution prints reports based on the previous defined templates in Jasper Reports. Comments can be defined as a result of lab algorthim(Eg; Generate a dummy test that generates a comment | OK
V_68 | *Možnost pred pripravljenih komentarjev izvida na osnovi vpisanih rezultatov | *Repository of pre-prepared laboratory report comments to be used with different sets of entered results | Mandatory | Our solution prints reports based on the previous defined templates in Jasper Reports. Comments can be defined as a result of lab algorthim(Eg; Generate a dummy test that generates a comment | OK
Y_05 | *Pogled krvodajalčevih podatkov je prilagojen specifikam laboratorija | *User interface is configurable according to the specific laboratory needs | Mandatory | Result entry screen in eP is the same for all labs. However via configuration the test are different per lab | OK
Y_62 | *Izdaja izvida skupaj s strukturiranim ali nestrukturiranim mnenjem, opombo in oznako | *Standardized laboratory report generation along with structured or unstructured clarification, note and label | Mandatory | Our solution prints reports based on the previous defined templates in Jasper Reports. Comments can be defined as a result of lab algorthim(Eg; Generate a dummy test that generates a comment | OK
Y_63 | *Možnost pred pripravljenih komentarjev izvida na osnovi vpisanih rezultatov | *Repository of pre-prepared laboratory report comments to be used with different sets of entered results | Mandatory | Our solution prints reports based on the previous defined templates in Jasper Reports. Comments can be defined as a result of lab algorthim(Eg; Generate a dummy test that generates a comment | OK
XX_1 | Shranjevanje ažurnih informacij o arhivu vzorca (št. vzorca, volumen, ID ploščice in pozicija na ploščici, čas arhiviranja, status, izvajalec ter ostale pomembne informacije) iz sistema za arhiviranje vzorcev | Storing up-to-date information about the sample archive (sample number, volume, plate ID and position on the plate, time of archiving, status, operator and other important information) from the sample archiving system | Mandatory | Funcitionality limited. Our solution can store for each donation number, the plate number, the position in the plate, the operator and a comment. The location of the plate can be allocated in the previously defined freezer and the position of the storage container in the freezer. | OK

## FZ3
CODE | Specification - Requirements for patients | English translation | Mandatory/Optional | Question
Comment
CC_8 | Spremljanje zalog in opozarjanje ob minimalnih in optimalnih zalogah | Stock monitoring and alerting at minimum and optimum stock levels | Mandatory | Our solution provides visual indicators of low stock level (stock level # turns RED). When interfaced with our solution, the user can create an electronic order to ePRO. | OK
EE_2 | *Sistem mora ob prejemu naročila le tega preusmeriti v ustrezen laboratorij | *Received orders must be conveyed to the corresponding laboratory | Mandatory | Can you please provide your workflow to clarify this requirements | E.G. if CMV negative blood is ordered, the order for CMV testing must automatically be sent to VIRO upon the blood order reception.
EE_3 | *Sistem mora podpirati več fazni sprejem naročila | *The system must support multi-phase order reception | Mandatory | Can you please clarify what you are wanting in terms of a multi-phase order. Please provide an example. | E.G.1: we receive an order for 2 units RBC from a hospital, and a while later additional 2 RBC bags are ordered for the same patient. Cross match is done from the same patient sample as for the first 2 RBC bags. We would like to have all 4 RBC units on the same order. E.G.2: we receive an order for lab tests for a certain patient and next day we receive additional order for RBC for the same patient. We would like to have everything on the same order.
EE_4 | *Sistem omogoča interni premik izvedbe naročila v drugo transfuzijsko ustanovo v celoti, delno ali razširjeno | *Enable the internal transfer of the execution of the order to another transfusion institution in whole, in part or in an extended manner | Mandatory | Can you please clarify what you are wanting in terms of a multi-phase order. Please provide an example. | E.G.: the order (for blood, lab testing…) is received at dislocated transfusion unit, where they can only partially fulfil it. The unfuflilled part of the order is redirected to ZTM.
EE_16 | *Upravljanje digitalizacije papirnatega naročila | *Management of digitization of physical order | Mandatory | Attachment of the physical order as a PDF and manual order creation. | OK
EE_17 | *Sistem mora podpirati večfazni sprejem naročila/vzorca (nekatere institucije imajo fizično ločeno sprejem in samo krvno banko) | *Multi-phase order/sample reception must be supported - recorded control points | Mandatory | Sample reception can be either 1-step or 2-step | OK
EE_41 | *Prejem izvida (v paketu, za enega pacienta) z vsemi opombami, mnenji in oznakami | *Report reception (for multiple patients in a package or one patient only) with all notes, opinions and tags | Mandatory | Further clarification required. Workflow and requirement? | Clarification: the blood issuing department must have insight into all lab reports.
EE_42 | V primeru, da izvajalec ponudi ločeno programsko opremo za preskrbo s krvjo in laboratorija mora omogočiti prenos podatkov IH testiranje in izdajo krvnih komponent. Prenos podatkov med rešitvama mora biti v realnem času. | If the provider offers separate software for blood supply, the laboratory must facilitate the real-time transfer of data for IH testing and issuing of blood components between the two solutions. Real-time data transfer between blood bank information management system and laboratory information management system (LIS): within one information system or between two separate but integrated solutions. | Mandatory | INTERFACE
EE_54 | *Izdaja vmesnega ali delnega izvida skupaj s strukturiranim ali nestrukturiranim mnenjem, opombo in oznako | *Issuing of an intermediate or partial report together with a structured or unstructured clarification, note and label | Mandatory | Functionality is in place to manage the utilization of a preliminary report. The preliminary status is clearly indicated in the report and a final report will be dispatched once all results are concluded. | OK
o Date/time of signing
o Purpose/meaning of signature (create, modify/delete)
o Audit trail showing who did what
GG_01 | Kontrola kakovosti krvnih komponent - uporabniki sistema imajo možnost na preprosti način pridobiti informacije o vsaki krvni komponenti od vene do vene vključno s podatki o darovalcu in prejemniku | Quality control of blood components - system users have the opportunity to easily obtain information about each blood component from vein to vein, including information about the donor and the recipient | Mandatory | Traceabiliy of the confirmed transfused component is visible in our solution. To obtain information about the donor and the receipienct, the user must log into the respective systems. | OK
GG_02 | Omogočene so anonimizirane poizvedbe (nekateri uporabniki ne smejo identificirati pacienta) | Anonymized inquiries are enabled (some users should not identify the patient) | Mandatory | GAP - needs to be moved to Optional. | The specification will be changed: - optional - "patient" replaced with "donor"
II_24 | *Elektronski sprejem/prevzem naročila za testiranje skupaj z ustreznimi identifikatorji, procesnimi podatki in relevantnimi kliničnimi podatki od naročnika (interni ali zunanji) - predtransfuzijsko testiranje | *Electronic receipt/acceptance of the order for testing together with relevant identifiers, process data and relevant clinical data from the client (internal or external) - pre-transfusion testing | Mandatory | When interfaced to our solution | Data will be provided by e-NKiS.
II_25 | *Elektronski sprejem/prevzem naročila za testiranje skupaj z ustreznimi identifikatorji, procesnimi podatki in relevantnimi kliničnimi podatki iz ledenice - dodeljene ustrezne enote | *Electronic receipt/acceptance of the order for testing together with relevant identifiers, process data and relevant clinical data from the glacier - assigned appropriate units | Mandatory | When interfaced to our solution | Data will be provided by e-NKiS.
II_26 | *Upravljanje digitalizacije papirnatega naročila | *Management of digitization of physical order | Mandatory | When paper order is received, this can be uploaded to the patient file in PDF format and manual order created. | OK
II_27 | *Naročilo se obravnava glede na stopnjo nujnosti | *Order is considered according to the degree of urgency | Mandatory | When interfaced to our solution, our second solution receives priority of the order and is visable to the user. | OK
II_39 | Upravljanje sprejema/prevzema vzorca donacije (dodeljene enote za elektronski ali serološki navzkrižni preizkus) | Donation sample (of assigned unit for electronic or serologic crossmatch) reception management | Mandatory | Can you please clarify your process/workflow and provide and example. Process and workflow? | The donor sample is first allocated to the patient in the Central storage department, in the lab this sample can then be rejected or an additional sample of this donation (tube) may be requested.
II_40 | *Sistem mora podpirati več fazni sprejem vzorca - zabeležene kontrolne točke vzorca | *Multi-phase sample reception must be supported - recorded sample control points | Mandatory | Can you please clarify your process/workflow and provide and example. Process and workflow? | The donor sample is first allocated to the patient in the Central storage department, in the lab this sample can then be rejected or an additional sample of this donation (tube) may be requested.
II_41 | **Posameznega vzorca | **Individual sample | Mandatory | Can you please clarify your process/workflow and provide and example. Process and workflow? | This specification is removed.
II_42 | **Batch vzorcev | **Batch of samples | Mandatory | Can you please clarify your process/workflow and provide and example. Process and workflow? | This specification is removed.
II_43 | *Zavrnitev vzorca in podpora procesa ponovne zahteve vzorca | *Sample rejection and sample re-request process support | Mandatory | Can you please clarify your process/workflow and provide and example. Process and workflow? | The donor sample is first allocated to the patient in the Central storage department, in the lab this sample can then be rejected or an additional sample of this donation (tube) may be requested.
II_60 | *Zahteva po dopolnitvah | *Request for additions | Mandatory | A request for further samples can be added to the comments field. This does not replace the need to call the ordering physician. | OK
II_62 | Dvosmerna komunikacija z naročnikom | Two-way communication with the customermer | Mandatory | Interface to our solution? This is marked Optional in FZ4 | This specification will be changed to optional.
II_65 | **Pomanjkljivi demografski ali klinični podatki | **Incomplete demographic or clinical data | Mandatory | Can you please clarify your process/workflow expectation and provide an example. | We expect for the customer to be able to add missing demografical data if needed in case of the paper ordering form.
II_94 | Omogočena je dvosmerna povezava med LIS in AS/čitalcem | Bidirectional integration between LIMS and DD/reader | Mandatory | INTERFACE | OK
II_95 | Upravljanje in sprejem informacij o testiranju iz AS/čitalca | Management and reception of information on testing from DD/reader | Mandatory | INTERFACE | OK
II_96 | *Upravljanje in sprejem procesnih podatkov o testiranju (vzorec, operater, čas, analizator, podatki o uporabljenih materialih/reagentih, metoda) - zagotovljena mora biti popolna sledljivost | *Management and reception of process data on testing (sample, operator, time, analyzer, data on materials/reagents used, method) - full traceability must be ensured | Mandatory | INTERFACE | OK
II_103 | *Upravljanje ponavljanja testiranja zaradi neveljavnih rezultatov (tehnični ali analitični) - beleženje/prenos v LIS vseh rezultatov, tudi neveljavnih, da je vidna zgodovina vseh statusov vzorca | *Management of repeat testing due to invalid results (technical or analytical reasons) - recording/transfer of all results to LIMS, including invalid ones (full traceability of all results for each sample) | Optional | INTERFACE | OK
II_107 | Upravljanje sprejema informacij o testiranju iz pridruženih laboratorijev z uparjanjem rezultatov testiranja za pacienta (isti vzorec/drug vzorec/isto naročilo/drugo naročilo) | Management of test results received from affiliated laboratories by matching test results to a patient (same sample/other sample/same order/other order) | Optional | Will affiliated labs be within the hospital system? | NO
II_108 | *Pošiljanje zahtevka in sprejem rezultata preiskave/izvida za pacienta | *Ordering tests and receiving test results/reports for patient | Optional | Interface | OK
II_134 | Arhiv podatkov (zagotovljena polna sledljivost od vene do vene) | Data archive (full traceability guaranteed from vein to vein) | Mandatory | Donation details will be stored in Our solution | OK
II_158 | Sistem omogoča dodajanje priponk (vezane na pacienta, proces testiranja, rezultate testiranja) | Possibility of adding attachments (related to the patient, testing process, test results) | Mandatory | PDF format only | OK

## FZ4
CODE | Specification - general | English translation | Mandatory/ Optional | Question
Comment
LL_01 | Upravljanje politike zahtevkov za predtransfuzijsko testiranje pacientov ob naročilu za krvne komponente na nacionalni ravni | Management of patient pre-transfusion testing order policies when ordering blood components at the national level | Mandatory | Can you please clarify what you are expecting for this requirement and provide an example. | E.G.: the order (for blood, lab testing…) is received at dislocated transfusion unit, where they can only partially fulfil it. The unfuflilled part of the order is redirected to ZTM.
LL_85 | Omogočena je dvosmerna povezava med LIS in AS/čitalcem | Bidirectional integration between LIMS and DD/reader | Mandatory | Please clarify what is meant by 'DD/Reader' | DD = diagnostic device (analyzer) reader = device for reading gel cards (e.g. SAXO ID-Reader, BioRad)